CCPU Minutes

October 4, 2019

2-3 pm

University Union, Chicago Room

Members Present: Tom Sadler, Economics and Decision Sciences (Chair); Ian Shelly, Department of Art & Design (Secretary); Amy Ekanayake, Mathematics & Philosophy; Anita Hardeman, Music; Jongho Lee, Political Science; Cynthia Piletic, RPTA; Troy Rhoads, Facilities Management

Members Not Present: Roger Viadero, Environmental Studies; SGA Student Representative

Call to order: Tom Sadler, Chair of CCPU, called the meeting to order at 2:00 pm

II.	Facilities Update - Rhoads

  - Emergency deferred maintenance money from state freed up by IBHE - $13M

    - Roof for Currens (20 years out of warranty), Heating Plant Annex, currently underway

    - Knoblauch & Library (Spring 2020)

    - Simpkins - If possible, to follow NOT FINALIZED

    - Piping in Brown, Morgan, Stipes

      - $2.5M allocated

    - Campus chilled water loops, so buildings can share cooling loads

      - $4.3M allocated

    - Electrical Infrastructure

      - $3.3M allocated

      - Transformers, Oil Switches, Cabling, etc…

  - University has an estimated $400M+ in deferred maintenance back log. $28-29M has been allocated over the next 6-8 years

  - Wish List: Co-Generation Electrical/Heating, Solar, More Roof maintenance, Building Envelope Repair, Upgrade Classrooms

  - Does this effect Master Plan? - Piletic

    - All trades are short staffed. Plumbers, maintenance, landscape, heating, fire, security, etc… All facilities is 165 people. – Rhoads

      - Challenge to complete typical maintenance work orders with 2 pipe-fitters and 2 plumbers for whole campus (for perspective)

  - What about the vacant residence halls? - Hardeman

    - Changes were made in systems to make them more reduce energy usage and protect systems ex: cooling and heating points reset.

    - All unoccupied areas are still monitored for damage and new problems to prevent larger, more costly problems. – Rhoads

  - What percentage of occupancy are we with what is open? 80ish %? - Sadler

    - Defer answer to UHDS for an accurate figure. Every floor in open Res Halls are occupied. – Rhoads

I.	Approval of Minutes - Motion: Lee, Second: Piletic

9/6/19 Minutes Approved

III.	Old Business

  - Recent COFAC push to get Performing Art Center money. - Hardeman

    - Is there anything that CCPU can do to help with that? - Sadler

    - Letters to State could help. Plans need to be redone to account for upgrades in technology and they would have to account for inflation. Smaller building. - Hardeman

    - Upgrades will need to be made for changes in code, lighting ex: LED more common, etc… - Rhoads

IV. & V. (combined)

New Business & Charge for 2019-2020

  - Will contact Christopher Pines about needs of faculty senate. - Sadler

  - Discuss suggestions for future at November CCPU meeting. - Sadler

VII.	Adjourn: Meeting adjourned at 2:46 pm

VIII.	Next meeting: November 1