CCPU Minutes

February 6, 2024, 9 am

Meeting held via Zoom

Present:  Dan Schmidt, Debra Allwardt, Curt Simonson, Haritima Chauhan, Ted Renner

Not Present:

Student rep appointment in progress

Questions:

- Dan Schmidt- there are mud issues in the Brown Hall parking lot (south side)- asked if there were plans to add gravel. Ted- yes- that is being taken care of.

Updates from Ted Renner

- List of active projects (funded and under construction):

  - Brown hall- new sidewalk on east side- have handrails to be installed.

  - Campus chiller loop- majority of project is done (90%), should be online by mid June. There are some delays with equipment.

  - South campus- electrical upgrades (out for bids ) Sherman, Garman, Brown, Simkins, Memorial)- replace underground wire. Brown will get an emergency generator, upgrades. Expected to take more than a year- equipment has a long lead time. Basement of Brown will lose some space due to expanding the electrical room.

  - Tillman- future of building uncertain. Building could not be rehabilitated with internal funds (15 million plus just for basics, plus)

  - Center for Performing Arts- material delays will likely move back completion to October 2025. Inclement weather days also add to delay.

  - Looking at projects from the Capital Development Board- list includes re-roofing several buildings on campus. Garwood elevator is down (hydraulic cylinder powered- has hole and needs to be replaced but over $100,000). Other elevators have issues. Looking at chiller loop on north side of campus.

  - Heating plant: project starting to replace boilers.

Questions:

Parking for CPA: Parking for events. Upper field lot- currently students using the main lot- students would be asked to move out of the student lot on performance nights. Also have lots around Seal, Simpkins, Knobloch…

Deb: Horrabin parking lot resurface. Three other lots are being redone now. Had been told concrete was bad but testing showed they don’t need to be torn out. Parking services will cover costs- now they can move forward.

Announcements:

Meeting adjourned at 9:35 am. Next meeting: Mar 5, 9am via Zoom

Minutes submitted by Debra Allwardt